## Sheet1
INSTRUMENT SPECIFICATION SHEET - FLAME DETECTORS
Project: |  |  |  |  | Page Of
Date | By | Description / Number | Revision / Check'd | Spec Number: | Rev:
|  |  | / | Contract: | Date:
|  |  | / | Req: | P.O.:
|  |  | / | By: Checked: Approved:
General | 1 | Instrument Tag Number / Al or SS | / | / | /
Data | 2 | Service / Location
| 3 | P & ID Number
| 4 | Material Source
| 5 | Requisition Number
| 6 | Item Number
| 7 | Manufacturer | General Monitors | General Monitors | General Monitors
| 8 | Model Number | FL802 | FL802 | FL802
Process | 9 | Ambient Air Surveillance
Data | 10 | Gas To Be Detected
| 11 | Contamination Gases
Sensor | 12 | Number of Sensors / Part Number
Data | 13 | Measuring Element (Type)
| 14 | Method of Sampling
| 15 | Sensor Material (Al or SS)
| 16 | Sensor Mounting (Local or Remote)
| 17 | Enclosure Rating
| 18 | NEC Classification
| 19 | Conduit Connection Size (NPTF)
| 20 | RFI Susceptibility Tested
| 21 | Sensor Temperature Range
| 22 | Accuracy
| 23 | Response Time
| 24 | Zero Drift
Transmitter | 25 | Signal Cable Length (Max In Feet)
Data | 26 | Signal Amplifier
| 27 | Type of Transmitter / Sensor | Note 1 | Note 1 | Note 1
| 28 | Local Indication (Y/N)
| 29 | Type of Mounting
| 30 | Housing Material (Al or SS)
| 31 | NEC Classification
| 32 | Electronics Temperature Range
| 33 | Input Power
| 34 | Output Signal Range
| 35 | Relay Contact Arrangement (No.)
| 36 | Relay Contact Rating
| 37 | Warn Contact (N.O or N.C.)
| 38 | Warn Actuates
| 39 | Latching Warn (Y/N)
| 40 | Alarm Contact (N.O or N.C.)
| 41 | Alarm Actuates
| 42 | Latching Alarm (Y/N)
Control | 43 | Number of Channels | 8 | 8 | 8
Unit | 44 | Meter Scale Range
Data | 45 | Location
| 46 | Type of Mounting | Panel | Panel | Panel
| 47 | Operating Temp.
| 48 | NEC Classification | General Purpose | General Purpose | General Purpose
| 49 | Input Power | 20-35 VDC (Note 4) | 20-35 VDC (Note 4) | 20-35 VDC (Note 4)
| 50 | Output Signal Range | 0-22mA | 0-22mA | 0-22mA
| 51 | Relay Contact Arrangement (No.) | DPDT (3) Notes 2 & 3 | DPDT (3) Notes 2 & 3 | DPDT (3) Notes 2 & 3
| 52 | Relay Contact Rating | 4A @ 250VAC, 3A @ 30 VDC | 4A @ 250VAC, 3A @ 30 VDC | 4A @ 250VAC, 3A @ 30 VDC
| 53 | Warn Contact (N.O. or N.C.)
| 54 | Warn Actuates
| 55 | Latching Warn (Y/N)
| 56 | Alarm Contact (N.O. or N.C.)
| 57 | Alarm Actuates
| 58 | Latching Alarm (Y/N)
Options | 59
60
NOTES: | 1 | Sensor / Transmitter shall be General Monitors 24 VDC Unitized Flame Detector, and have a 0-22 mA (4-20 mA range) output.
| 2 | Dip-switch based alarm set-up
| 3 | Malfunction Relay N.O., non-latching
| 4 | 3A with 8 field devices connected.
5
| * | Vendor to advise.