Product Engineering Sheet

Engineering Specification for a System-based

Power Supply Module

# General Description

The unit shall be designed to provide 24 VDC power for up to 12 channels of display modules in a 16 channel chassis. It shall operate from an input voltage of 117 VAC or 230 VAC at 50 or 60 Hertz. The system chassis shall be available in 4, 8 or 16 channel versions with rack or panel mounting options available for each. The 16 channel rack mounted chassis will be compatible with standard 19-inch racks. Each chassis shall contain a bus for the following independent signals:

- A1 Alarm

- A2 Alarm

- Fault

- Master Accept

- Master Reset

- Unaccept

- CAL

- +24 VDC

- System Common

- Com +

- Com -

Module signals shall be capable of being bussed from one chassis to another (16 channel chassis only), such that 100 modules can comprise a single system. The gas and flame detection modules shall be electrically and physically compatible and capable of being used in the same chassis to form combined fire and gas detection systems.

# Environmental Specifications

The unit shall be capable of operating within a temperature range of 0°F to 150°F (-18°C to 66°C). The unit shall operate within a humidity range of 5% to 100% relative humidity, non-condensing.

Electrical Specifications

The input power shall be 117 VAC @ 50/60 hertz with 230 VAC optional. The unit shall provide output power of 24 VDC for up to twelve channels of display modules with field devices. The unit shall be used in safe (non-hazardous) locations.

# Warranty

This unit shall have a two-year warranty. The manufacturer shall warrant this unit to be free from defects in workmanship and material under normal use and service within the warranty period from the date of shipment.